Copper Conductor Property Test Protocol

| Field | Value |
| --- | --- |
| Document No. | PROTO-CU-77 |
| Revision | 2.2 |
| Effective Date | 2026-07-01 |
| Author | Dr. Lena Ortiz, Materials Laboratory Lead |
| Classification | Controlled |

## 1. Property Priority

use measured values where available; flag literature-only values as unverified.

## 2. Valid Test Conditions

| Property class | Temperature | Pressure | Strain rate | Notes |
| --- | --- | --- | --- | --- |
| Mechanical yield and hardness | 23 +/- 2 C | 101.3 +/- 5 kPa | 1.0E-3 s^-1 | IIT/AFM or microcoupon data must match these conditions |
| Electrical resistivity | 20 C reference | ambient lab pressure | not applicable | temperature adjustment is calculated from service temperature |
| Thermal conductivity | 23 +/- 2 C | 101.3 +/- 5 kPa | not applicable | measured data outrank literature values |

## 3. Source Precedence

Current controlled specifications and approved waivers govern acceptance decisions. Catalog values are support evidence, not release authority, unless a protocol explicitly names them as a fallback.

## 4. Literature Screening

A literature record must be tied to a DOI or title that reports the property and material under review. Broad metadata matches are logged as false positives.